{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["中医护理物资","Sheet1"],"not_rendered":{"images":22,"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"中医护理物资","index":0,"n_rows":22,"n_cols":8,"rows_kept":22,"merged":[[0,0,0,7]],"flags":["formulas_cached_only"]}
["中医护理技术所需耗材采购清单"]
["序号","名称","规格","产品要求","单位","数量","参考图片","是否需提供样品"]
[1,"刮痧乳（面部）","100g","要求渗透性强，不堵毛孔，刮痧效果强。不含任何激素成分，无异味。","瓶",58,null,"提供样品"]
[2,"刮痧油","180ml","要求润滑性好，具有滋润皮肤，开泄毛孔，疏经通络，活血化瘀的功效。","瓶",231,null,"提供样品"]
[3,"精艾绒","500g/包","要求五年陈艾，渗透力强，手感细腻。","包",50,null,"提供样品"]
[4,"小艾饼（火龙罐用）","直径25mm*厚度20mm","要求艾绒纯净，杂质少，艾叶有艾香，不刺鼻，渗透力强，不散落，不掉灰。","个",5000,null,"提供样品"]
[5,"中艾饼（火龙罐用）","直径45mm*厚度25mm","要求艾绒纯净，杂质少，艾叶有艾香，不刺鼻，渗透力强，不散落，不掉灰。","个",8500,null,"提供样品"]
[6,"大艾饼（火龙罐用）","直径55mm*厚度30mm","要求艾绒纯净，杂质少，艾叶有艾香，不刺鼻，渗透力强，不散落，不掉灰。","个",1000,null,"提供样品"]
[7,"刮痧板（玉质）","6cm*8.5cm","材质要求：天然玉石。\n要求质地温润，角壁厚韧性强，光泽度好。弯板、直板均需。","块",147,null,"提供样品"]
[8,"刮痧板（牛角）","长度：8cm-10cm\n宽度：4cm-5cm","材质要求：牛角\n要求手感舒适。厚面按摩，薄面刮痧。","块",88,null,"提供样品"]
[9,"灭火筒","高度：20cm以上","要求灭火性能好，未使用完的艾条，灭火后还能在使用。要求灭火筒有隔热效果，放入艾条灭火时，筒外不烫手。","个",52,null,"提供样品"]
[10,"灸架","落地式可升降双臂","要求聚热防烫，样式如图片所示。","个",21,null,"提供样品"]
[11,"艾灸盒","单柱","材质要求：竹制。\n要求安全防烫。要有手柄，不易倾倒，多部位可灸，男女通用。艾柱位置数量为1个，样式如图片所示。","个",91,null,"提供样品"]
[12,"艾灸盒","双柱","材质要求：竹制。\n要求安全防烫。要有手柄，不易倾倒，多部位可灸，男女通用。艾柱位置数量为2个，样式如图片所示。","个",32,null,"提供样品"]
[13,"艾灸盒","三柱","材质要求：竹制。\n要求安全防烫。要有手柄，不易倾倒，多部位可灸，男女通用。艾柱位置数量为3个，样式如图片所示。","个",17,null,"提供样品"]
[14,"耳穴探棒","13cm","材质要求：纯黄铜。\n要求顶部圆润不隔手，螺纹手握防滑，手感清晰，有弹性。","个",119,null,"提供样品"]
[15,"督灸布","70cm","要求纯棉布制作。用于药物铺灸疗法。","块",124,null,"提供样品"]
[16,"高纯度打火机充气液","257cc","要求符合国家标准，高纯度，杜绝漏气，安全无害。","瓶",106,null,"提供样品"]
[17,"桑皮纸","20*70cm","要求能隔离姜饼中的湿气，施灸过程中方便隔热操作，预防烫伤。韧性要好，姜汁打湿后不宜破。","张",4270,null,"提供样品"]
[18,"点火棒（拔罐用）","手柄长度：20cm以上","材质要求：脱脂棉/实心金属棒。\n要求棉头不脱落，手柄不导热。火苗旺，烧的久。样式如图片所示。","个",66,null,"提供样品"]
[19,"雷火灸","2.8*10cm","成分要求：陈年艾绒加中药材。\n要求火力温和，灸感温软，渗透力强，灸效强，点燃不易熄灭。","根",89,null,"提供样品"]
[20,"火龙罐","口径约4.5cm","材质要求：黑陶+砭石烧制。\n要求灸感舒适，可艾灸，可刮痧可烫灸，集推拿艾灸刮痧功能于一体。","个",27,null,"提供样品"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}