{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["湖滨院区","钱塘院区"],"read":"whole","date_system":"1900"}

{"sheet":"湖滨院区","index":0,"n_rows":36,"n_cols":8,"rows_kept":36,"merged":[[0,0,0,7],[2,0,17,0],[2,1,17,1],[16,7,17,7],[18,0,20,0],[18,1,20,1],[21,0,25,0],[21,1,25,1],[26,0,29,0],[26,1,29,1],[30,0,33,0],[30,1,33,1],[34,1,34,5],[35,0,36,7]]}
["表一：湖滨院区"]
["项目","检测点位","检测项目","频次","次数","单价（元）","总价（元）","备注"]
["污水处理站废水","医疗废水总排口","悬浮物","周",60]
[null,null,"化学需氧量","周",60]
[null,null,"五日生化需氧量","季度",5]
[null,null,"阴离子表面活性剂","季度",5]
[null,null,"石油类","季度",5]
[null,null,"动植物油","季度",5]
[null,null,"挥发酚","季度",5]
[null,null,"总氰化物","季度",5]
[null,null,"色度","季度",5]
[null,null,"粪大肠菌群","月",15]
[null,null,"志和氏菌","半年",2]
[null,null,"沙门氏菌","季度",5]
[null,null,"氨氮","季度",5]
[null,null,"总余氯","季度",5]
[null,null,"总α放射性","季度",5,null,null,"衰变池出口"]
[null,null,"总β放射性","季度",5]
["污水处理站废气","有组织  排放","氨气","季度",5]
[null,null,"硫化氢","季度",5]
[null,null,"恶臭","季度",5]
["污水处理站周边废气","无组织  排放","氨气","季度",5]
[null,null,"硫化氢","季度",5]
[null,null,"恶臭","季度",5]
[null,null,"氯气","季度",5]
[null,null,"甲烷","季度",5]
["蒸气发生器","2合1","颗粒物","年",1]
[null,null,"二氧化硫","年",1]
[null,null,"林格曼黑度","年",1]
[null,null,"氮氧化物","月",15]
["热水锅炉","3合1","颗粒物","年",1]
[null,null,"二氧化硫","年",1]
[null,null,"林格曼黑度","年",1]
[null,null,"氮氧化物","月",15]
[null,"合计",{"$nulls":4},{"$f":"SUM(G3:G34)","v":0}]
["备注： 以上报价须包括采样人工费、交通费、人工费、检测费、管理费、税费等一切费用。"]

{"sheet":"钱塘院区","index":1,"n_rows":35,"n_cols":8,"rows_kept":35,"merged":[[0,0,0,7],[2,0,24,0],[2,1,24,1],[16,7,17,7],[18,7,24,7],[25,0,27,0],[25,1,27,1],[28,0,32,0],[28,1,32,1],[33,1,33,5],[34,0,35,7]]}
["表二：钱塘院区"]
["项目","检测点位","检测项目","频次","次数","单价","总价","备注"]
["污水处理站废水","医疗废水总排口","悬浮物","周",60]
[null,null,"化学需氧量","周",60]
[null,null,"五日生化需氧量","季度",5]
[null,null,"阴离子表面活性剂","季度",5]
[null,null,"石油类","季度",5]
[null,null,"动植物油","季度",5]
[null,null,"挥发酚","季度",5]
[null,null,"总氰化物","季度",5]
[null,null,"色度","季度",5]
[null,null,"粪大肠菌群","月",15]
[null,null,"志和氏菌","半年",2]
[null,null,"沙门氏菌","季度",5]
[null,null,"氨氮","季度",5]
[null,null,"总余氯","季度",5]
[null,null,"总α放射性","季度",5,null,null,"衰变池出口"]
[null,null,"总β放射性","季度",5]
[null,null,"总汞","季度",5,null,null,"设备设施口"]
[null,null,"总铬","季度",5]
[null,null,"六价铬","季度",5]
[null,null,"总镉","季度",5]
[null,null,"总砷","季度",5]
[null,null,"总铅","季度",5]
[null,null,"总银","季度",5]
["污水处理站废气","有组织 排放","氨气","季度",5]
[null,null,"硫化氢","季度",5]
[null,null,"恶臭","季度",5]
["污水处理站周边废气","无组织 排放","氨气","季度",5]
[null,null,"硫化氢","季度",5]
[null,null,"恶臭","季度",5]
[null,null,"氯气","季度",5]
[null,null,"甲烷","季度",5]
[null,"合计",{"$nulls":4},{"$f":"SUM(G3:G33)","v":0}]
["备注： 以上报价须包括采样人工费、交通费、人工费、检测费、管理费、税费等一切费用。"]