{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":22,"n_cols":7,"rows_kept":22,"merged":[[0,0,0,6],[1,0,1,6],[3,0,8,0],[3,1,8,1],[8,2,8,4],[9,0,13,0],[9,1,13,1],[13,2,13,4],[14,0,19,0],[14,1,19,1],[15,2,16,2],[15,3,16,3],[17,2,18,2],[17,3,18,3],[19,2,19,4],[20,1,20,4],[21,0,21,6]]}
["附件2:报价表"]
["项目名称：浙江省中医院三院区管道燃气设施维保服务项目"]
["标项","院区","序号","维保项目","单价","合计(元/2年）","备注"]
["标项1","湖滨院区",1,"每月一次室外管道巡检、支线阀门巡检（工作内容：日常巡检、维护、每年1次室外管道激光检漏）","       元/(路/月）"]
[null,null,2,"每月一次的专用调压设备巡检（工作内容：日常巡检、维护、每月1次压力检测、查漏）","       元/(只*月）",null,"共1只撬装调压器"]
[null,null,3,"每月一次户内燃气管道设施常规巡检（工作内容：日常巡检、维护）","       元/月"]
[null,null,4,"每月一次燃气计量表具巡检（工作内容：日常巡检、维护）","       元（只*月）",null,"共7只计量表具"]
[null,null,5,"每月一次的户内燃气灶具巡检（工作内容：日常巡检）","       /(台*月）",null,"共16台燃气灶具"]
[null,null,"湖滨院区小计"]
["标项2","钱塘院区",1,"每月一次室外管道巡检、支线阀门巡检（工作内容：日常巡检、维护、每年1次室外管道激光检漏）","      元/(路/月）"]
[null,null,2,"每月一次户内燃气管道设施常规巡检（工作内容：日常巡检、维护）","        元/月"]
[null,null,3,"每月一次燃气计量表具巡检（工作内容：日常巡检、维护）","       元（只*月）",null,"共1只计量表具"]
[null,null,4,"每月一次的户内燃气灶具巡检（工作内容：日常巡检）","       元/(台*月）",null,"共3台燃气灶具"]
[null,null,"钱塘院区小计"]
["标项3","西溪院区",1,"安检（地下管道测漏；调压设备检查；燃气表检查；过滤器检查；管道及阀门等燃气设施外观检查，主要结合用气客户的设备及管线复杂程度而定）","         元/次",null,"12次/年"]
[null,null,2,"调压设施（调压器调压精度检查、测试，维护皮膜、阀口等；检查调压器弹簧；检查信号管道接口；调试各参数，使工作状况达到要求；调压器主，备用切换；检查清除阀口的污物；检查校准各压力参数；记录仪检定、校验；超压切断阀调试；超压放散阀设定；过滤器拆洗；柜内管道阀门防腐）","        元/只/次",null,"调压站（100）1只，2次/年"]
[{"$nulls":4},"        元/只/次",null,"调压站（900-1400）1只，2次/年"]
[null,null,3,"燃气具常规巡检","       元/台/次",null,"灶具、蒸箱等厨房用气设备连接管油漆脱落、管接松动、查漏、防腐修复等，共计12台，4次/年"]
[{"$nulls":4},"       元/台/次",null,"锅炉、热水炉、燃气空调、发电机等商用燃气设备管道油漆脱落、管接松动、查漏、防腐修复等，共计4台，4次/年"]
[null,null,"西溪院区小计"]
[null,"三院区合计"]
["备注：报价应包含完成本项目所需的一切全部费用"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}