{"text_format":"3","workbook":"xlsx","n_sheets":4,"sheets":["表1-2 分部分项工程量清单与计价表【房屋建筑与装饰】","表1-3-C 技术措施项目清单及计价表【房屋建筑与装饰】","表1-2 分部分项工程量清单与计价表【通用安装工程】","表1-3-C 技术措施项目清单及计价表【通用安装工程】"],"read":"whole","date_system":"1900"}

{"sheet":"表1-2 分部分项工程量清单与计价表【房屋建筑与装饰】","index":0,"n_rows":177,"n_cols":17,"rows_kept":177,"merged":[[0,0,0,11],[0,12,0,17],[1,0,1,17],[2,0,2,5],[2,6,2,11],[2,12,2,17],[3,0,4,0],[3,1,4,1],[3,2,4,3],[3,4,4,6],[3,7,4,7],[3,8,4,9],[3,10,4,10],[3,11,4,12],[3,13,3,15],[3,16,4,16],[5,2,5,3],[5,4,5,6],[5,8,5,9],[5,11,5,12],[6,2,6,3],[6,4,6,6],[6,8,6,9],[6,11,6,12],[7,2,7,3],[7,4,7,6],[7,8,7,9],[7,11,7,12],[8,2,8,3],[8,4,8,6],[8,8,8,9],[8,11,8,12],[9,2,9,3],[9,4,9,6],[9,8,9,9],[9,11,9,12],[10,2,10,3],[10,4,10,6],[10,8,10,9],[10,11,10,12],[11,2,11,3],[11,4,11,6],[11,8,11,9],[11,11,11,12],[12,2,12,3],[12,4,12,6],[12,8,12,9],[12,11,12,12],[13,2,13,3],[13,4,13,6],[13,8,13,9],[13,11,13,12],[14,2,14,3],[14,4,14,6],[14,8,14,9],[14,11,14,12],[15,2,15,3],[15,4,15,6],[15,8,15,9],[15,11,15,12],[16,2,16,3],[16,4,16,6],[16,8,16,9],[16,11,16,12],[17,2,17,3],[17,4,17,6],[17,8,17,9],[17,11,17,12],[18,2,18,3],[18,4,18,6],[18,8,18,9],[18,11,18,12],[19,2,19,3],[19,4,19,6],[19,8,19,9],[19,11,19,12],[20,2,20,3],[20,4,20,6],[20,8,20,9],[20,11,20,12],[21,2,21,3],[21,4,21,6],[21,8,21,9],[21,11,21,12],[22,2,22,3],[22,4,22,6],[22,8,22,9],[22,11,22,12],[23,0,23,11],[23,12,23,17],[24,0,24,17],[25,0,25,5],[25,6,25,11],[25,12,25,17],[26,0,27,0],[26,1,27,1],[26,2,27,3],[26,4,27,6],[26,7,27,7],[26,8,27,9],[26,10,27,10],[26,11,27,12],[26,13,26,15],[26,16,27,16],[28,2,28,3],[28,4,28,6],[28,8,28,9],[28,11,28,12],[29,2,29,3],[29,4,29,6],[29,8,29,9],[29,11,29,12],[30,2,30,3],[30,4,30,6],[30,8,30,9],[30,11,30,12],[31,2,31,3],[31,4,31,6],[31,8,31,9],[31,11,31,12],[32,2,32,3],[32,4,32,6],[32,8,32,9],[32,11,32,12],[33,2,33,3],[33,4,33,6],[33,8,33,9],[33,11,33,12],[34,2,34,3],[34,4,34,6],[34,8,34,9],[34,11,34,12],[35,2,35,3],[35,4,35,6],[35,8,35,9],[35,11,35,12],[36,2,36,3],[36,4,36,6],[36,8,36,9],[36,11,36,12],[37,2,37,3],[37,4,37,6],[37,8,37,9],[37,11,37,12],[38,2,38,3],[38,4,38,6],[38,8,38,9],[38,11,38,12],[39,2,39,3],[39,4,39,6],[39,8,39,9],[39,11,39,12],[40,2,40,3],[40,4,40,6],[40,8,40,9],[40,11,40,12],[41,2,41,3],[41,4,41,6],[41,8,41,9],[41,11,41,12],[42,2,42,3],[42,4,42,6],[42,8,42,9],[42,11,42,12],[43,2,43,3],[43,4,43,6],[43,8,43,9],[43,11,43,12],[44,2,44,3],[44,4,44,6],[44,8,44,9],[44,11,44,12],[45,2,45,3],[45,4,45,6],[45,8,45,9],[45,11,45,12],[46,0,46,11],[46,12,46,17],[47,0,47,17],[48,0,48,5],[48,6,48,11],[48,12,48,17],[49,0,50,0],[49,1,50,1],[49,2,50,3],[49,4,50,6],[49,7,50,7],[49,8,50,9],[49,10,50,10],[49,11,50,12],[49,13,49,15],[49,16,50,16],[51,2,51,3],[51,4,51,6],[51,8,51,9],[51,11,51,12],[52,2,52,3],[52,4,52,6],[52,8,52,9],[52,11,52,12],[53,2,53,3],[53,4,53,6],[53,8,53,9],[53,11,53,12],[54,2,54,3],[54,4,54,6],[54,8,54,9],[54,11,54,12],[55,2,55,3],[55,4,55,6],[55,8,55,9],[55,11,55,12],[56,2,56,3],[56,4,56,6],[56,8,56,9],[56,11,56,12],[57,2,57,3],[57,4,57,6],[57,8,57,9],[57,11,57,12],[58,2,58,3],[58,4,58,6],[58,8,58,9],[58,11,58,12],[59,2,59,3],[59,4,59,6],[59,8,59,9],[59,11,59,12],[60,2,60,3],[60,4,60,6],[60,8,60,9],[60,11,60,12],[61,2,61,3],[61,4,61,6],[61,8,61,9],[61,11,61,12],[62,2,62,3],[62,4,62,6],[62,8,62,9],[62,11,62,12],[63,2,63,3],[63,4,63,6],[63,8,63,9],[63,11,63,12],[64,2,64,3],[64,4,64,6],[64,8,64,9],[64,11,64,12],[65,2,65,3],[65,4,65,6],[65,8,65,9],[65,11,65,12],[66,2,66,3],[66,4,66,6],[66,8,66,9],[66,11,66,12],[67,2,67,3],[67,4,67,6],[67,8,67,9],[67,11,67,12],[68,2,68,3],[68,4,68,6],[68,8,68,9],[68,11,68,12],[69,2,69,3],[69,4,69,6],[69,8,69,9],[69,11,69,12],[70,0,70,11],[70,12,70,17],[71,0,71,17],[72,0,72,5],[72,6,72,11],[72,12,72,17],[73,0,74,0],[73,1,74,1],[73,2,74,3],[73,4,74,6],[73,7,74,7],[73,8,74,9],[73,10,74,10],[73,11,74,12],[73,13,73,15],[73,16,74,16],[75,2,75,3],[75,4,75,6],[75,8,75,9],[75,11,75,12],[76,2,76,3],[76,4,76,6],[76,8,76,9],[76,11,76,12],[77,2,77,3],[77,4,77,6],[77,8,77,9],[77,11,77,12],[78,2,78,3],[78,4,78,6],[78,8,78,9],[78,11,78,12],[79,2,79,3],[79,4,79,6],[79,8,79,9],[79,11,79,12],[80,2,80,3],[80,4,80,6],[80,8,80,9],[80,11,80,12],[81,2,81,3],[81,4,81,6],[81,8,81,9],[81,11,81,12],[82,2,82,3],[82,4,82,6],[82,8,82,9],[82,11,82,12],[83,2,83,3],[83,4,83,6],[83,8,83,9],[83,11,83,12],[84,2,84,3],[84,4,84,6],[84,8,84,9],[84,11,84,12],[85,2,85,3],[85,4,85,6],[85,8,85,9],[85,11,85,12],[86,2,86,3],[86,4,86,6],[86,8,86,9],[86,11,86,12],[87,2,87,3],[87,4,87,6],[87,8,87,9],[87,11,87,12],[88,2,88,3],[88,4,88,6],[88,8,88,9],[88,11,88,12],[89,2,89,3],[89,4,89,6],[89,8,89,9],[89,11,89,12],[90,2,90,3],[90,4,90,6],[90,8,90,9],[90,11,90,12],[91,2,91,3],[91,4,91,6],[91,8,91,9],[91,11,91,12],[92,0,92,11],[92,12,92,17],[93,0,93,17],[94,0,94,5],[94,6,94,11],[94,12,94,17],[95,0,96,0],[95,1,96,1],[95,2,96,3],[95,4,96,6],[95,7,96,7],[95,8,96,9],[95,10,96,10],[95,11,96,12],[95,13,95,15],[95,16,96,16],[97,2,97,3],[97,4,97,6],[97,8,97,9],[97,11,97,12],[98,2,98,3],[98,4,98,6],[98,8,98,9],[98,11,98,12],[99,2,99,3],[99,4,99,6],[99,8,99,9],[99,11,99,12],[100,2,100,3],[100,4,100,6],[100,8,100,9],[100,11,100,12],[101,2,101,3],[101,4,101,6],[101,8,101,9],[101,11,101,12],[102,2,102,3],[102,4,102,6],[102,8,102,9],[102,11,102,12],[103,2,103,3],[103,4,103,6],[103,8,103,9],[103,11,103,12],[104,2,104,3],[104,4,104,6],[104,8,104,9],[104,11,104,12],[105,2,105,3],[105,4,105,6],[105,8,105,9],[105,11,105,12],[106,2,106,3],[106,4,106,6],[106,8,106,9],[106,11,106,12],[107,2,107,3],[107,4,107,6],[107,8,107,9],[107,11,107,12],[108,2,108,3],[108,4,108,6],[108,8,108,9],[108,11,108,12],[109,2,109,3],[109,4,109,6],[109,8,109,9],[109,11,109,12],[110,2,110,3],[110,4,110,6],[110,8,110,9],[110,11,110,12],[111,2,111,3],[111,4,111,6],[111,8,111,9],[111,11,111,12],[112,2,112,3],[112,4,112,6],[112,8,112,9],[112,11,112,12],[113,2,113,3],[113,4,113,6],[113,8,113,9],[113,11,113,12],[114,2,114,3],[114,4,114,6],[114,8,114,9],[114,11,114,12],[115,0,115,11],[115,12,115,17],[116,0,116,17],[117,0,117,5],[117,6,117,11],[117,12,117,17],[118,0,119,0],[118,1,119,1],[118,2,119,3],[118,4,119,6],[118,7,119,7],[118,8,119,9],[118,10,119,10],[118,11,119,12],[118,13,118,15],[118,16,119,16],[120,2,120,3],[120,4,120,6],[120,8,120,9],[120,11,120,12],[121,2,121,3],[121,4,121,6],[121,8,121,9],[121,11,121,12],[122,2,122,3],[122,4,122,6],[122,8,122,9],[122,11,122,12],[123,2,123,3],[123,4,123,6],[123,8,123,9],[123,11,123,12],[124,2,124,3],[124,4,124,6],[124,8,124,9],[124,11,124,12],[125,2,125,3],[125,4,125,6],[125,8,125,9],[125,11,125,12],[126,2,126,3],[126,4,126,6],[126,8,126,9],[126,11,126,12],[127,2,127,3],[127,4,127,6],[127,8,127,9],[127,11,127,12],[128,2,128,3],[128,4,128,6],[128,8,128,9],[128,11,128,12],[129,2,129,3],[129,4,129,6],[129,8,129,9],[129,11,129,12],[130,2,130,3],[130,4,130,6],[130,8,130,9],[130,11,130,12],[131,2,131,3],[131,4,131,6],[131,8,131,9],[131,11,131,12],[132,2,132,3],[132,4,132,6],[132,8,132,9],[132,11,132,12],[133,2,133,3],[133,4,133,6],[133,8,133,9],[133,11,133,12],[134,2,134,3],[134,4,134,6],[134,8,134,9],[134,11,134,12],[135,2,135,3],[135,4,135,6],[135,8,135,9],[135,11,135,12],[136,2,136,3],[136,4,136,6],[136,8,136,9],[136,11,136,12],[137,0,137,11],[137,12,137,17],[138,0,138,17],[139,0,139,5],[139,6,139,11],[139,12,139,17],[140,0,141,0],[140,1,141,1],[140,2,141,3],[140,4,141,6],[140,7,141,7],[140,8,141,9],[140,10,141,10],[140,11,141,12],[140,13,140,15],[140,16,141,16],[142,2,142,3],[142,4,142,6],[142,8,142,9],[142,11,142,12],[143,2,143,3],[143,4,143,6],[143,8,143,9],[143,11,143,12],[144,2,144,3],[144,4,144,6],[144,8,144,9],[144,11,144,12],[145,2,145,3],[145,4,145,6],[145,8,145,9],[145,11,145,12],[146,2,146,3],[146,4,146,6],[146,8,146,9],[146,11,146,12],[147,2,147,3],[147,4,147,6],[147,8,147,9],[147,11,147,12],[148,2,148,3],[148,4,148,6],[148,8,148,9],[148,11,148,12],[149,2,149,3],[149,4,149,6],[149,8,149,9],[149,11,149,12],[150,2,150,3],[150,4,150,6],[150,8,150,9],[150,11,150,12],[151,2,151,3],[151,4,151,6],[151,8,151,9],[151,11,151,12],[152,2,152,3],[152,4,152,6],[152,8,152,9],[152,11,152,12],[153,2,153,3],[153,4,153,6],[153,8,153,9],[153,11,153,12],[154,2,154,3],[154,4,154,6],[154,8,154,9],[154,11,154,12],[155,0,155,11],[155,12,155,17],[156,0,156,17],[157,0,157,5],[157,6,157,11],[157,12,157,17],[158,0,159,0],[158,1,159,1],[158,2,159,3],[158,4,159,6],[158,7,159,7],[158,8,159,9],[158,10,159,10],[158,11,159,12],[158,13,158,15],[158,16,159,16],[160,2,160,3],[160,4,160,6],[160,8,160,9],[160,11,160,12],[161,2,161,3],[161,4,161,6],[161,8,161,9],[161,11,161,12],[162,2,162,3],[162,4,162,6],[162,8,162,9],[162,11,162,12],[163,2,163,3],[163,4,163,6],[163,8,163,9],[163,11,163,12],[164,2,164,3],[164,4,164,6],[164,8,164,9],[164,11,164,12],[165,2,165,3],[165,4,165,6],[165,8,165,9],[165,11,165,12],[166,2,166,3],[166,4,166,6],[166,8,166,9],[166,11,166,12],[167,2,167,3],[167,4,167,6],[167,8,167,9],[167,11,167,12],[168,2,168,3],[168,4,168,6],[168,8,168,9],[168,11,168,12],[169,2,169,3],[169,4,169,6],[169,8,169,9],[169,11,169,12],[170,2,170,3],[170,4,170,6],[170,8,170,9],[170,11,170,12],[171,2,171,3],[171,4,171,6],[171,8,171,9],[171,11,171,12],[172,2,172,3],[172,4,172,6],[172,8,172,9],[172,11,172,12],[173,2,173,3],[173,4,173,6],[173,8,173,9],[173,11,173,12],[174,2,174,3],[174,4,174,6],[174,8,174,9],[174,11,174,12],[175,2,175,3],[175,4,175,6],[175,8,175,9],[175,11,175,12],[176,0,176,10],[176,11,176,12]]}
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江省中医院制剂中心基础装修改造工程-房屋建筑与装饰",{"$nulls":11},"第 1 页  共 8 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[null,null,"三层区域改造"]
[null,null,"（一） 304、305、成品仓库"]
[1,"011210002001","金属隔断",null,"通风柜处50厚洁净板隔墙安装",null,null,"m2",24]
[2,"011502001001","金属装饰线",null,"铝合金50内圆安装",null,null,"m",48.2]
[3,"010802002001","彩板门",null,"50厚彩钢板洁净门安装",null,null,"樘",1]
[4,"011502001002","金属装饰线",null,"100*100铝合金包角",null,null,"m",3]
[5,"01B001","原金属面墙、顶基层修补、打磨等",null,"1.原金属面墙、顶基层修补、打磨等",null,null,"m2",288]
[6,"011405001001","金属面油漆",null,"金属面刷环氧富锌防锈漆 一遍",null,null,"m2",288]
[7,"011405001002","金属面油漆",null,"金属面刷氟碳漆 ~遍数3",null,null,"m2",288]
[8,"01B002","场地成品保护及卫生清理",null,"1.场地成品保护及卫生清理",null,null,"项",1]
[9,"01B003","原房间内拆除",null,"1.原房间内实验台、柜子、设备等拆除",null,null,"项",1]
[10,"01B004","零星修补",null,"零星修补:1、水管更换封堵等2、隔墙拆除后吊顶洁净板加固3、原总电箱内线路短接、改装、测试等4、原彩钢板吊顶切割空调孔含四周包边5、材料搬运上楼6、脚手架搭拆",null,null,"项",1]
[11,"01B005","杂物及垃圾外运",null,"杂物及垃圾外运处置",null,null,"项",1]
[null,null,"（二）307-311、313房间"]
[12,"011502001003","金属装饰线",null,"铝合金50内圆安装",null,null,"m",64]
[13,"010802001001","金属（塑钢）门",null,"办公室高端成品铝合金隔断移门安装",null,null,"m2",9.8]
[14,"01B006","原金属面墙、顶基层修补、打磨等",null,"1.原金属面墙、顶基层修补、打磨等",null,null,"m2",120.7]
[15,"011405001003","金属面油漆",null,"金属面刷环氧富锌防锈漆 一遍",null,null,"m2",120.7]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-房屋建筑与装饰",{"$nulls":11},"第 2 页  共 8 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[16,"011405001004","金属面油漆",null,"金属面刷氟碳漆 ~遍数3",null,null,"m2",120.7]
[17,"01B007","不锈钢洗手池安装（含配件龙头)",null,"1.不锈钢洗手池安装（含配件龙头)",null,null,"套",3]
[18,"011608002001","铲除涂料面",null,"原墙顶面抹灰面及基层铲除",null,null,"m2",74]
[19,"011406003001","满刮腻子",null,"抹灰面批刮腻子（满刮两遍）",null,null,"m2",74]
[20,"011407001001","墙面喷刷涂料",null,"墙面乳胶漆涂刷三遍（净味五合一）",null,null,"m2",74]
[21,"01B008","制水间地面不锈钢板铺设焊接",null,"制水间地面不锈钢板铺设焊接（含下水制作）",null,null,"项",1]
[22,"01B009","原房间内实验台、设备等拆除",null,"1.原房间内实验台、设备等拆除",null,null,"项",1]
[23,"01B010","杂物垃圾外运",null,"1.杂物垃圾外运处置",null,null,"项",1]
[null,null,"三层（301-303）实验室改造"]
[24,"011609002001","隔断隔墙拆除",null,"彩钢板隔墙拆除",null,null,"m2",26.6]
[25,"011210002002","金属隔断",null,"50厚彩钢岩棉手工板隔墙",null,null,"m2",40.2]
[26,"010802002002","彩板门",null,"彩钢板子母门更换",null,null,"樘",3]
[27,"010807008001","彩板窗",null,"彩钢板墙8mm厚钢化玻璃铝合金框固定窗安装",null,null,"m2",6]
[28,"01B011","原彩钢板吊顶接缝处钢梁加固",null,"1.原彩钢板吊顶接缝处钢梁加固（含钢梁、吊杆、附件等）",null,null,"m",9.5]
[29,"01B012","金属顶、墙面打磨清理",null,"1.金属顶、墙面打磨清理",null,null,"m2",546]
[30,"01B013","50mm铝合金内框固定",null,"1.50mm铝合金内框固定",null,null,"m",58]
[31,"011405001005","金属面油漆",null,"金属面刷环氧富锌防锈漆 一遍",null,null,"m2",546]
[32,"011405001006","金属面油漆",null,"金属面刷氟碳漆 ~遍数3",null,null,"m2",546]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-房屋建筑与装饰",{"$nulls":11},"第 3 页  共 8 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[33,"011101005001","自流坪楼地面",null,"水泥基自流平砂浆楼地面 ~厚5(mm)",null,null,"m2",178]
[34,"011103003001","塑料板楼地面",null,"地面2.0厚地胶板铺贴",null,null,"m2",188]
[35,"011208001001","柱（梁）面装饰",null,"木龙骨架15阻燃板基层石膏板饰面包柱子",null,null,"m2",12.5]
[36,"01B014","场地成品保护及卫生清理",null,"1.场地成品保护及卫生清理",null,null,"项",1]
[37,"01B015","杂物及垃圾外运",null,"杂物及垃圾外运处置",null,null,"项",1]
[38,"01B016","网络改造",null,"网络改造",null,null,"项",1]
[39,"01B017","实验室内拆除",null,"原房间内实验台、设备等拆除",null,null,"项",1]
[null,null,"二层洁净区维修"]
[40,"011406001001","抹灰面油漆",null,"地面超耐磨地坪漆翻新",null,null,"m2",130]
[41,"011210002003","金属隔断",null,"50厚彩钢岩棉手工板隔墙",null,null,"m2",38]
[42,"011502001004","金属装饰线",null,"铝合金50内圆安装",null,null,"m",38]
[43,"011405001007","金属面油漆",null,"金属顶、墙面打磨清理;金属面刷环氧富锌防锈漆 一遍;金属面刷氟碳漆 ~遍数3",null,null,"m2",38]
[44,"01B018","原彩钢板切割、拆除",null,"1.原彩钢板切割、拆除",null,null,"项",1]
[45,"010802002003","彩板门",null,"彩钢板洁净区门更换",null,null,"樘",1]
[46,"01B019","不锈钢连体水槽定制1100*600*750",null,"不锈钢连体水槽定制1100*600*750，含水龙头等成套配套附件",null,null,"项",1]
[47,"010807001001","金属（塑钢、断桥）窗",null,"传递窗更换600*600*700",null,null,"樘",4]
[48,"01B020","卫生清理",null,"卫生清理",null,null,"项",1]
[49,"01B021","零星修补",null,"零星修补：1、中央空调边框、水池四周密封2、地漏排水连接3、原传递窗拆圆边拆、装，打胶密封4、回风口砌割5、墙面彩钢板处生锈油漆处理6、其余局部零星维修",null,null,"项",1]
[null,null,"一楼会议室改造"]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-房屋建筑与装饰",{"$nulls":11},"第 4 页  共 8 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[50,"011605001001","平面块料拆除",null,"原地面花岗岩及基层凿除",null,null,"m2",38]
[51,"011102001001","石材楼地面",null,"地面800*800仿古砖铺贴，含勾缝，基层",null,null,"m2",38]
[52,"011609002002","隔断隔墙拆除",null,"原彩钢板隔墙及吊顶拆除",null,null,"m2",80]
[53,"011207001001","墙面装饰板",null,"1、附墙木龙骨基层 断面20cm2以内 平均中距30cm以内\n2、墙面阻燃板基层\n3、吸音板墙面安装",null,null,"m2",86.2]
[54,"011302001001","吊顶天棚",null,"1、轻钢龙骨（U50型）吊顶 平面\n2、600*600铝扣板吊顶",null,null,"m2",35]
[55,"011105006001","金属踢脚线",null,"不锈钢踢脚线安装",null,null,"m",24]
[56,"01B022","茶水台定制2000*600*800（含水池、龙头、下水配件）",null,"茶水台定制2000*600*800（含水池、龙头、下水配件）",null,null,"只",1]
[57,"01B023","建筑垃圾外运",null,"建筑垃圾外运",null,null,"项",1]
[58,"01B024","零星水管等维修",null,"零星水管等维修:1、给排水改造2、彩钢板切割及加固等",null,null,"项",1]
[null,null,"公共区域改造"]
[59,"010802004001","防盗门",null,"钢板防盗门安装",null,null,"m2",24.5]
[60,"011210003001","玻璃隔断",null,"钢架结构6+6夹胶钢化玻璃安装",null,null,"m2",7.2]
[61,"010607003001","成品雨蓬",null,"不锈钢雨棚制作安装",null,null,"m2",17.8]
[62,"010507007001","其他构件",null,"花岗石台阶混凝土浇筑C30",null,null,"m3",3.8]
[63,"040203008001","块料面层",null,"20厚芝麻白花岗石火烧板铺贴",null,null,"m2",16.9]
[64,"011610002001","金属门窗拆除",null,"原防盗门拆除",null,null,"m2",16.2]
[65,"011602001001","混凝土构件拆除",null,"无筋混凝土基础拆除",null,null,"m3",3.8]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-房屋建筑与装饰",{"$nulls":11},"第 5 页  共 8 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[66,"01B025","原室外楼梯加固及油漆",null,"原室外楼梯加固及油漆",null,null,"项",1]
[67,"011503001001","金属扶手、栏杆、栏板",null,"室外楼梯不锈钢扶手安装",null,null,"m",11.2]
[68,"011403001001","木扶手油漆",null,"南北楼梯木扶手刷聚脂混漆 磨退~五遍",null,null,"m",51]
[69,"011405001008","金属面油漆",null,"南北楼梯铁栏栅氟碳漆、锅炉房油漆涂刷",null,null,"m2",51]
[70,"011405001009","金属面油漆",null,"1、金属面打磨清理\n2、金属面刷环氧富锌防锈漆 一遍\n3、金属面刷氟碳漆 ~遍数3",null,null,"m2",560]
[71,"01B026","三楼走廊二侧清理整改",null,"三楼走廊二侧杂物清理、线路整理、电箱整改及室外线路整理零星修补",null,null,"项",1]
[72,"01B027","楼层门牌制作",null,"楼层门牌制作（有机板或不锈钢板）",null,null,"块",50]
[73,"011302001002","吊顶天棚",null,"1、北楼梯轻钢龙骨（U50型）吊顶 平面\n2、北楼梯300*600铝扣板吊顶",null,null,"m2",15.3]
[74,"011604003001","天棚抹灰面拆除",null,"南北楼梯间原墙顶面抹灰面及基层铲除",null,null,"m2",738]
[75,"011407001002","墙面喷刷涂料",null,"1、抹灰面批刮腻子（满刮两遍）\n2、墙面乳胶漆涂刷三遍（净味五合一）",null,null,"m2",738]
[76,"011405001010","金属面油漆",null,"屋顶钢架楼梯氟碳漆涂刷",null,null,"m2",16]
[77,"01B028","屋顶上人孔不锈钢罩制作安装",null,"1.屋顶上人孔不锈钢罩制作安装",null,null,"m2",2.8]
[78,"01B029","卫生清理及场地保护",null,"卫生清理及场地保护",null,null,"项",1]
[79,"01B030","垃圾外运",null,"垃圾外运",null,null,"项",1]
[80,"01B031","挖掘机开挖",null,"1.挖掘机开挖（油库）",null,null,"台班",1]
[null,null,"三层卫生间改造"]
[81,"011605001002","平面块料拆除",null,"原墙、地砖地面拆除，包括水泥砂浆层",null,null,"m2",80.9]
[82,"011606003001","天棚面龙骨及饰面拆除",null,"吊顶拆除",null,null,"m2",10.4]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-房屋建筑与装饰",{"$nulls":11},"第 6 页  共 8 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[83,"011201002001","墙面装饰抹灰",null,"墙面零星水泥砂浆粉刷",null,null,"m2",68.1]
[84,"011101003001","细石混凝土楼地面",null,"细石混凝土找平层^非泵送商品混凝土 C30~厚50(mm)",null,null,"m2",13.4]
[85,"010903002001","墙面涂膜防水",null,"墙面聚氨酯防水涂料 ~1.5mm厚",null,null,"m2",80.9]
[86,"010904002001","楼（地）面涂膜防水",null,"地面丙纶柔性防水",null,null,"m2",18.2]
[87,"010401012001","零星砌砖",null,"蹬坑位砖砌",null,null,"个",3]
[88,"011204003001","块料墙面",null,"300*600墙砖铺贴",null,null,"m2",68.1]
[89,"011102003001","块料楼地面",null,"300*300地砖铺贴",null,null,"m2",13.4]
[90,"011302001003","吊顶天棚",null,"1、轻钢龙骨（U50型）吊顶 平面\n2、300*300铝扣板吊顶安装",null,null,"m2",13.4]
[91,"01B032","原洁净板包框及木工板基层",null,"1.原洁净板包框及木工板基层",null,null,"樘",2]
[92,"011210005001","成品隔断",null,"12厚抗倍特板卫生间隔断安装",null,null,"m2",10.8]
[93,"010801002001","木质门带套",null,"成品实木复合门制作安装1000×2200",null,null,"樘",2]
[94,"01B033","卫生清理及场地保护",null,"卫生清理及场地保护",null,null,"项",1]
[95,"01B034","垃圾外运",null,"垃圾外运处置",null,null,"项",1]
[96,"01B035","零星修补",null,"零星修补1、原厕所蹬位隔断、水池等拆除2、原厕所线路、水管、设施等拆除3、给排水改造4、包水管及门槛改造5、材料搬运上楼6、脚手架搭拆",null,null,"项",1]
[null,null,"一层零星改造"]
[null,null,"一号提取间"]
[97,"011606003002","天棚面龙骨及饰面拆除",null,"吊顶拆除",null,null,"m2",78]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-房屋建筑与装饰",{"$nulls":11},"第 7 页  共 8 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[98,"011302001004","吊顶天棚",null,"1、轻钢龙骨（U50型）吊顶 平面\n2、600*600铝扣板吊顶",null,null,"m2",78]
[99,"01B036","原墙面瓷砖清洗",null,"1.原墙面瓷砖清洗",null,null,"m2",260]
[100,"01B037","垃圾外运",null,"垃圾外运处置",null,null,"项",1]
[null,null,"二号提取间"]
[101,"011405001011","金属面油漆",null,"1、金属面打磨清理\n2、金属面刷环氧富锌防锈漆 一遍\n3、金属面刷氟碳漆 ~遍数3",null,null,"m2",136]
[102,"01B038","原墙面瓷砖清洗",null,"1.原墙面瓷砖清洗",null,null,"m2",136]
[103,"011401001001","木门油漆",null,"原防火门油漆",null,null,"m2",18]
[104,"01B039","防火门闭门器安装",null,"1.防火门闭门器安装",null,null,"个",4]
[105,"01B040","零星拆除、修补、设备保护、防火门修补、彩钢板生锈处理卫生清理脚手架搭拆",null,"零星拆除、修补、设备保护、防火门修补、彩钢板生锈处理卫生清理脚手架搭拆",null,null,"项",1]
[null,null,"消毒间、烘房、一楼洁净区域"]
[106,"011405001012","金属面油漆",null,"1、金属面打磨清理\n2、金属面刷环氧富锌防锈漆 一遍\n3、金属面刷氟碳漆 ~遍数3",null,null,"m2",256]
[107,"011406001002","抹灰面油漆",null,"地面超耐磨地坪漆翻新",null,null,"m2",80]
[108,"01B041","排水保洁处理、窗台板安装。墙面修补、设备保护、卫生清理。水池清洗、脚手架搭拆",null,"排水保洁处理、窗台板安装。墙面修补、设备保护、卫生清理。水池清洗、脚手架搭拆",null,null,"项",1]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-房屋建筑与装饰",{"$nulls":11},"第 8 页  共 8 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[null,null,"消毒间、烘房、一楼洁净区域"]
[109,"011604003002","墙顶面抹灰面拆除",null,"排水保洁处理、窗台板安装。墙面修补、设备保护、卫生清理。水池清洗、脚手架搭拆",null,null,"m2",620]
[110,"011407002001","天棚喷刷涂料",null,"1、抹灰面批刮腻子（满刮两遍）\n2、墙面乳胶漆涂刷三遍",null,null,"m2",620]
[111,"011405001013","金属面油漆",null,"1、金属面打磨清理\n2、金属面刷环氧富锌防锈漆 一遍\n3、金属面刷氟碳漆 ~遍数3",null,null,"m2",98]
[112,"01B042","锅炉房钢架加固",null,"锅炉房钢架加固",null,null,"项",1]
[113,"01B043","零星拆除、修补、设备保护、、彩钢板生锈处理卫生清理脚手架搭拆",null,"零星拆除、修补、设备保护、、彩钢板生锈处理卫生清理脚手架搭拆",null,null,"项",1]
[114,"01B044","原墙面瓷砖及地面清洗",null,"1.原墙面瓷砖及地面清洗",null,null,"m2",160]
[null,null,"室外简易房翻新"]
[115,"011606002001","墙柱面龙骨及饰面拆除",null,"原彩钢板墙及顶拆除",null,null,"m2",275.5]
[116,"01B045","原钢架结构加固及油漆",null,"原钢架结构加固及油漆",null,null,"项",1]
[117,"011210002004","金属隔断",null,"50厚彩钢夹心板墙板安装（含辅材、配件）",null,null,"m2",149.5]
[118,"011302001005","吊顶天棚",null,"100厚彩钢屋面板安装",null,null,"m2",126]
[119,"010802002004","彩板门",null,"50厚彩钢成品子母门安装",null,null,"樘",1]
[]
[]
[]
["合   计"]

{"sheet":"表1-3-C 技术措施项目清单及计价表【房屋建筑与装饰】","index":1,"n_rows":28,"n_cols":12,"rows_kept":28,"merged":[[0,0,0,7],[0,8,0,11],[1,0,1,11],[2,0,2,7],[2,8,2,11],[3,0,3,7],[3,8,3,11],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[4,6,5,6],[4,7,5,7],[4,8,4,10],[4,11,5,11],[27,0,27,6]]}
[]
["表1-3-C 技术措施项目清单及计价表"]
["工程名称：浙江省中医院制剂中心基础装修改造工程"]
["单位工程及专业工程名称：浙江省中医院制剂中心基础装修改造工程-房屋建筑与装饰",{"$nulls":7},"第 1 页  共 1 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位","工程量","综合单价(元)","金额(元)","其中",null,null,"备注"]
[{"$nulls":8},"人工费","机械费","管理费"]
[null,null,"[请输入分部名称]"]
[1,"011705001001","大型机械设备进出场及安拆","场外运输费用 履带式挖掘机1m3以内","台次",1]
[2,"011701006001","满堂脚手架","脚手架搭拆费","m2",1286.2]
{"$rows_empty":18}
["合   计"]

{"sheet":"表1-2 分部分项工程量清单与计价表【通用安装工程】","index":2,"n_rows":171,"n_cols":17,"rows_kept":171,"merged":[[0,0,0,11],[0,12,0,17],[1,0,1,17],[2,0,2,5],[2,6,2,11],[2,12,2,17],[3,0,4,0],[3,1,4,1],[3,2,4,3],[3,4,4,6],[3,7,4,7],[3,8,4,9],[3,10,4,10],[3,11,4,12],[3,13,3,15],[3,16,4,16],[5,2,5,3],[5,4,5,6],[5,8,5,9],[5,11,5,12],[6,2,6,3],[6,4,6,6],[6,8,6,9],[6,11,6,12],[7,2,7,3],[7,4,7,6],[7,8,7,9],[7,11,7,12],[8,2,8,3],[8,4,8,6],[8,8,8,9],[8,11,8,12],[9,2,9,3],[9,4,9,6],[9,8,9,9],[9,11,9,12],[10,2,10,3],[10,4,10,6],[10,8,10,9],[10,11,10,12],[11,2,11,3],[11,4,11,6],[11,8,11,9],[11,11,11,12],[12,2,12,3],[12,4,12,6],[12,8,12,9],[12,11,12,12],[13,2,13,3],[13,4,13,6],[13,8,13,9],[13,11,13,12],[14,2,14,3],[14,4,14,6],[14,8,14,9],[14,11,14,12],[15,2,15,3],[15,4,15,6],[15,8,15,9],[15,11,15,12],[16,2,16,3],[16,4,16,6],[16,8,16,9],[16,11,16,12],[17,2,17,3],[17,4,17,6],[17,8,17,9],[17,11,17,12],[18,2,18,3],[18,4,18,6],[18,8,18,9],[18,11,18,12],[19,2,19,3],[19,4,19,6],[19,8,19,9],[19,11,19,12],[20,2,20,3],[20,4,20,6],[20,8,20,9],[20,11,20,12],[21,2,21,3],[21,4,21,6],[21,8,21,9],[21,11,21,12],[22,2,22,3],[22,4,22,6],[22,8,22,9],[22,11,22,12],[23,2,23,3],[23,4,23,6],[23,8,23,9],[23,11,23,12],[24,0,24,11],[24,12,24,17],[25,0,25,17],[26,0,26,5],[26,6,26,11],[26,12,26,17],[27,0,28,0],[27,1,28,1],[27,2,28,3],[27,4,28,6],[27,7,28,7],[27,8,28,9],[27,10,28,10],[27,11,28,12],[27,13,27,15],[27,16,28,16],[29,2,29,3],[29,4,29,6],[29,8,29,9],[29,11,29,12],[30,2,30,3],[30,4,30,6],[30,8,30,9],[30,11,30,12],[31,2,31,3],[31,4,31,6],[31,8,31,9],[31,11,31,12],[32,2,32,3],[32,4,32,6],[32,8,32,9],[32,11,32,12],[33,2,33,3],[33,4,33,6],[33,8,33,9],[33,11,33,12],[34,2,34,3],[34,4,34,6],[34,8,34,9],[34,11,34,12],[35,2,35,3],[35,4,35,6],[35,8,35,9],[35,11,35,12],[36,2,36,3],[36,4,36,6],[36,8,36,9],[36,11,36,12],[37,2,37,3],[37,4,37,6],[37,8,37,9],[37,11,37,12],[38,2,38,3],[38,4,38,6],[38,8,38,9],[38,11,38,12],[39,2,39,3],[39,4,39,6],[39,8,39,9],[39,11,39,12],[40,2,40,3],[40,4,40,6],[40,8,40,9],[40,11,40,12],[41,2,41,3],[41,4,41,6],[41,8,41,9],[41,11,41,12],[42,2,42,3],[42,4,42,6],[42,8,42,9],[42,11,42,12],[43,2,43,3],[43,4,43,6],[43,8,43,9],[43,11,43,12],[44,0,44,11],[44,12,44,17],[45,0,45,17],[46,0,46,5],[46,6,46,11],[46,12,46,17],[47,0,48,0],[47,1,48,1],[47,2,48,3],[47,4,48,6],[47,7,48,7],[47,8,48,9],[47,10,48,10],[47,11,48,12],[47,13,47,15],[47,16,48,16],[49,2,49,3],[49,4,49,6],[49,8,49,9],[49,11,49,12],[50,2,50,3],[50,4,50,6],[50,8,50,9],[50,11,50,12],[51,2,51,3],[51,4,51,6],[51,8,51,9],[51,11,51,12],[52,2,52,3],[52,4,52,6],[52,8,52,9],[52,11,52,12],[53,2,53,3],[53,4,53,6],[53,8,53,9],[53,11,53,12],[54,2,54,3],[54,4,54,6],[54,8,54,9],[54,11,54,12],[55,2,55,3],[55,4,55,6],[55,8,55,9],[55,11,55,12],[56,2,56,3],[56,4,56,6],[56,8,56,9],[56,11,56,12],[57,2,57,3],[57,4,57,6],[57,8,57,9],[57,11,57,12],[58,2,58,3],[58,4,58,6],[58,8,58,9],[58,11,58,12],[59,2,59,3],[59,4,59,6],[59,8,59,9],[59,11,59,12],[60,2,60,3],[60,4,60,6],[60,8,60,9],[60,11,60,12],[61,2,61,3],[61,4,61,6],[61,8,61,9],[61,11,61,12],[62,2,62,3],[62,4,62,6],[62,8,62,9],[62,11,62,12],[63,2,63,3],[63,4,63,6],[63,8,63,9],[63,11,63,12],[64,2,64,3],[64,4,64,6],[64,8,64,9],[64,11,64,12],[65,2,65,3],[65,4,65,6],[65,8,65,9],[65,11,65,12],[66,0,66,11],[66,12,66,17],[67,0,67,17],[68,0,68,5],[68,6,68,11],[68,12,68,17],[69,0,70,0],[69,1,70,1],[69,2,70,3],[69,4,70,6],[69,7,70,7],[69,8,70,9],[69,10,70,10],[69,11,70,12],[69,13,69,15],[69,16,70,16],[71,2,71,3],[71,4,71,6],[71,8,71,9],[71,11,71,12],[72,2,72,3],[72,4,72,6],[72,8,72,9],[72,11,72,12],[73,2,73,3],[73,4,73,6],[73,8,73,9],[73,11,73,12],[74,2,74,3],[74,4,74,6],[74,8,74,9],[74,11,74,12],[75,2,75,3],[75,4,75,6],[75,8,75,9],[75,11,75,12],[76,2,76,3],[76,4,76,6],[76,8,76,9],[76,11,76,12],[77,2,77,3],[77,4,77,6],[77,8,77,9],[77,11,77,12],[78,2,78,3],[78,4,78,6],[78,8,78,9],[78,11,78,12],[79,2,79,3],[79,4,79,6],[79,8,79,9],[79,11,79,12],[80,2,80,3],[80,4,80,6],[80,8,80,9],[80,11,80,12],[81,2,81,3],[81,4,81,6],[81,8,81,9],[81,11,81,12],[82,2,82,3],[82,4,82,6],[82,8,82,9],[82,11,82,12],[83,2,83,3],[83,4,83,6],[83,8,83,9],[83,11,83,12],[84,2,84,3],[84,4,84,6],[84,8,84,9],[84,11,84,12],[85,2,85,3],[85,4,85,6],[85,8,85,9],[85,11,85,12],[86,2,86,3],[86,4,86,6],[86,8,86,9],[86,11,86,12],[87,2,87,3],[87,4,87,6],[87,8,87,9],[87,11,87,12],[88,0,88,11],[88,12,88,17],[89,0,89,17],[90,0,90,5],[90,6,90,11],[90,12,90,17],[91,0,92,0],[91,1,92,1],[91,2,92,3],[91,4,92,6],[91,7,92,7],[91,8,92,9],[91,10,92,10],[91,11,92,12],[91,13,91,15],[91,16,92,16],[93,2,93,3],[93,4,93,6],[93,8,93,9],[93,11,93,12],[94,2,94,3],[94,4,94,6],[94,8,94,9],[94,11,94,12],[95,2,95,3],[95,4,95,6],[95,8,95,9],[95,11,95,12],[96,2,96,3],[96,4,96,6],[96,8,96,9],[96,11,96,12],[97,2,97,3],[97,4,97,6],[97,8,97,9],[97,11,97,12],[98,2,98,3],[98,4,98,6],[98,8,98,9],[98,11,98,12],[99,2,99,3],[99,4,99,6],[99,8,99,9],[99,11,99,12],[100,2,100,3],[100,4,100,6],[100,8,100,9],[100,11,100,12],[101,2,101,3],[101,4,101,6],[101,8,101,9],[101,11,101,12],[102,2,102,3],[102,4,102,6],[102,8,102,9],[102,11,102,12],[103,2,103,3],[103,4,103,6],[103,8,103,9],[103,11,103,12],[104,2,104,3],[104,4,104,6],[104,8,104,9],[104,11,104,12],[105,2,105,3],[105,4,105,6],[105,8,105,9],[105,11,105,12],[106,2,106,3],[106,4,106,6],[106,8,106,9],[106,11,106,12],[107,2,107,3],[107,4,107,6],[107,8,107,9],[107,11,107,12],[108,2,108,3],[108,4,108,6],[108,8,108,9],[108,11,108,12],[109,2,109,3],[109,4,109,6],[109,8,109,9],[109,11,109,12],[110,2,110,3],[110,4,110,6],[110,8,110,9],[110,11,110,12],[111,2,111,3],[111,4,111,6],[111,8,111,9],[111,11,111,12],[112,2,112,3],[112,4,112,6],[112,8,112,9],[112,11,112,12],[113,2,113,3],[113,4,113,6],[113,8,113,9],[113,11,113,12],[114,0,114,11],[114,12,114,17],[115,0,115,17],[116,0,116,5],[116,6,116,11],[116,12,116,17],[117,0,118,0],[117,1,118,1],[117,2,118,3],[117,4,118,6],[117,7,118,7],[117,8,118,9],[117,10,118,10],[117,11,118,12],[117,13,117,15],[117,16,118,16],[119,2,119,3],[119,4,119,6],[119,8,119,9],[119,11,119,12],[120,2,120,3],[120,4,120,6],[120,8,120,9],[120,11,120,12],[121,2,121,3],[121,4,121,6],[121,8,121,9],[121,11,121,12],[122,2,122,3],[122,4,122,6],[122,8,122,9],[122,11,122,12],[123,2,123,3],[123,4,123,6],[123,8,123,9],[123,11,123,12],[124,2,124,3],[124,4,124,6],[124,8,124,9],[124,11,124,12],[125,2,125,3],[125,4,125,6],[125,8,125,9],[125,11,125,12],[126,0,126,11],[126,12,126,17],[127,0,127,17],[128,0,128,5],[128,6,128,11],[128,12,128,17],[129,0,130,0],[129,1,130,1],[129,2,130,3],[129,4,130,6],[129,7,130,7],[129,8,130,9],[129,10,130,10],[129,11,130,12],[129,13,129,15],[129,16,130,16],[131,2,131,3],[131,4,131,6],[131,8,131,9],[131,11,131,12],[132,2,132,3],[132,4,132,6],[132,8,132,9],[132,11,132,12],[133,2,133,3],[133,4,133,6],[133,8,133,9],[133,11,133,12],[134,2,134,3],[134,4,134,6],[134,8,134,9],[134,11,134,12],[135,2,135,3],[135,4,135,6],[135,8,135,9],[135,11,135,12],[136,0,136,11],[136,12,136,17],[137,0,137,17],[138,0,138,5],[138,6,138,11],[138,12,138,17],[139,0,140,0],[139,1,140,1],[139,2,140,3],[139,4,140,6],[139,7,140,7],[139,8,140,9],[139,10,140,10],[139,11,140,12],[139,13,139,15],[139,16,140,16],[141,2,141,3],[141,4,141,6],[141,8,141,9],[141,11,141,12],[142,2,142,3],[142,4,142,6],[142,8,142,9],[142,11,142,12],[143,2,143,3],[143,4,143,6],[143,8,143,9],[143,11,143,12],[144,2,144,3],[144,4,144,6],[144,8,144,9],[144,11,144,12],[145,2,145,3],[145,4,145,6],[145,8,145,9],[145,11,145,12],[146,0,146,11],[146,12,146,17],[147,0,147,17],[148,0,148,5],[148,6,148,11],[148,12,148,17],[149,0,150,0],[149,1,150,1],[149,2,150,3],[149,4,150,6],[149,7,150,7],[149,8,150,9],[149,10,150,10],[149,11,150,12],[149,13,149,15],[149,16,150,16],[151,2,151,3],[151,4,151,6],[151,8,151,9],[151,11,151,12],[152,2,152,3],[152,4,152,6],[152,8,152,9],[152,11,152,12],[153,2,153,3],[153,4,153,6],[153,8,153,9],[153,11,153,12],[154,2,154,3],[154,4,154,6],[154,8,154,9],[154,11,154,12],[155,2,155,3],[155,4,155,6],[155,8,155,9],[155,11,155,12],[156,2,156,3],[156,4,156,6],[156,8,156,9],[156,11,156,12],[157,2,157,3],[157,4,157,6],[157,8,157,9],[157,11,157,12],[158,2,158,3],[158,4,158,6],[158,8,158,9],[158,11,158,12],[159,2,159,3],[159,4,159,6],[159,8,159,9],[159,11,159,12],[160,2,160,3],[160,4,160,6],[160,8,160,9],[160,11,160,12],[161,2,161,3],[161,4,161,6],[161,8,161,9],[161,11,161,12],[162,2,162,3],[162,4,162,6],[162,8,162,9],[162,11,162,12],[163,2,163,3],[163,4,163,6],[163,8,163,9],[163,11,163,12],[164,2,164,3],[164,4,164,6],[164,8,164,9],[164,11,164,12],[165,2,165,3],[165,4,165,6],[165,8,165,9],[165,11,165,12],[166,2,166,3],[166,4,166,6],[166,8,166,9],[166,11,166,12],[167,2,167,3],[167,4,167,6],[167,8,167,9],[167,11,167,12],[168,2,168,3],[168,4,168,6],[168,8,168,9],[168,11,168,12],[169,2,169,3],[169,4,169,6],[169,8,169,9],[169,11,169,12],[170,0,170,10],[170,11,170,12]]}
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江省中医院制剂中心基础装修改造工程-通用安装工程",{"$nulls":11},"第 1 页  共 9 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[null,null,"304、305、成品仓库"]
[1,"030411002001","线槽",null,"1.名称:20×25PVC阻燃线槽墙体固定",null,null,"m",90]
[2,"030411004001","配线",null,"1.名称:管内穿线\n2.规格:BV2.5",null,null,"m",320]
[3,"030411004002","配线",null,"1.名称:管内穿线\n2.规格:BVR2.5",null,null,"m",160]
[4,"030411001001","配管",null,"1.名称:Φ25PVC阻燃管吊顶内预埋",null,null,"m",86]
[5,"030411006001","接线盒",null,"1.名称:86型明盒墙体固定",null,null,"个",20]
[6,"030404035001","插座",null,"1.名称:86型开关、插座安装",null,null,"个",20]
[7,"030412005001","荧光灯",null,"1.名称:1200双管LED净化日光灯安装",null,null,"套",22]
[8,"03B001","通风柜安装（含墙面开孔、辅材等）",null,"1.通风柜安装（含墙面开孔、辅材等）",null,null,"台",1]
[null,null,"空调新增线路"]
[9,"030408001001","电力电缆",null,"1.名称:YJV5*16电缆线吊顶内预埋",null,null,"m",38]
[10,"030408006001","电力电缆头",null,"户内干包式电力电缆头制作、安装 干包终端头(1kV以下截面mm2以下)35 \u007f25mm2及以下，铜芯，三芯及以上",null,null,"个",2]
[11,"030404017001","配电箱",null,"1.名称:18路空开箱安装（含空开配件）",null,null,"台",1]
[12,"030411004003","配线",null,"1.名称:BV4.0电线管内穿线",null,null,"m",800]
[13,"030411004004","配线",null,"1.名称:BVR4.0电线管内穿线",null,null,"m",400]
[14,"030411001002","配管",null,"1.名称:Φ25PVC阻燃管吊顶内预埋",null,null,"m",400]
[null,null,"三层（301-303）实验室改造"]
[15,"030408001002","电力电缆",null,"1.名称:YJV4×50+1×25电缆线吊顶内预埋",null,null,"m",90]
[16,"030408001003","电力电缆",null,"1.名称:YJV5*25线缆吊顶内预埋",null,null,"m",103]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-通用安装工程",{"$nulls":11},"第 2 页  共 9 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[17,"030408006002","电力电缆头",null,"户内干包式电力电缆头制作、安装 干包终端头(1kV以下截面mm2以下)120",null,null,"个",10]
[18,"030408006003","电力电缆头",null,"户内干包式电力电缆头制作、安装 干包终端头(1kV以下截面mm2以下)35 \u007f25mm2及以下，铜芯，三芯及以上",null,null,"个",20]
[19,"030404017002","配电箱",null,"1.名称:600*800配电箱安装（含空开配件)",null,null,"台",4]
[20,"030411002002","线槽",null,"1.名称:20×25PVC阻燃线槽墙体固定",null,null,"m",200]
[21,"030411001003","配管",null,"1.名称:Φ25PVC阻燃管吊顶内预埋",null,null,"m",800]
[22,"030411004005","配线",null,"1.名称:BV4.0电线管内穿线",null,null,"m",400]
[23,"030411004006","配线",null,"1.名称:BVR4.0电线管内穿线",null,null,"m",200]
[24,"030411004007","配线",null,"1.名称:管内穿线\n2.规格:BV2.5",null,null,"m",1000]
[25,"030411004008","配线",null,"1.名称:管内穿线\n2.规格:BVR2.5",null,null,"m",400]
[26,"030411006002","接线盒",null,"1.名称:86型灯头盒金属软管安装",null,null,"个",28]
[27,"030411006003","接线盒",null,"1.名称:86型明盒安装",null,null,"个",60]
[28,"030404035002","插座",null,"1.名称:86型插座安装",null,null,"个",60]
[29,"030412005002","荧光灯",null,"1.名称:1200双管LED净化日光灯安装",null,null,"套",28]
[30,"031001006001","塑料管",null,"1、φ32PPR塑料管水管熔接，含管道及管件制作安装\n2、压力试验，消毒水冲洗等",null,null,"m",56]
[31,"031001006002","塑料管",null,"1、φ25PPR塑料管水管熔接，含管道及管件制作安装\n2、压力试验，消毒水冲洗等",null,null,"m",86.2]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-通用安装工程",{"$nulls":11},"第 3 页  共 9 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[32,"031001006003","塑料管",null,"1、φ50PVC排水管、吊卡固定，含管道及管件制作安装\n2、含阻火圈、灌水试验等",null,null,"m",120]
[33,"031003005001","塑料阀门",null,"1.规格:φ32PPR阀门安装",null,null,"个",12]
[34,"03B002","不锈钢三角阀安装",null,"1.不锈钢三角阀安装",null,null,"个",12]
[35,"011615001001","开孔（打洞）",null,"机具开孔",null,null,"个",27]
[null,null,"二层洁净区维修"]
[36,"030404017003","配电箱",null,"1.名称:空开箱更换(防尘)",null,null,"台",4]
[37,"030703011001","铝及铝合金风口、散流器",null,"1.名称:铝制回风口安装加过滤网",null,null,"个",4]
[38,"030404035003","插座",null,"1.名称:86型防尘插座安装",null,null,"个",20]
[39,"011615001002","开孔（打洞）",null,"机具开孔",null,null,"个",1]
[40,"031004014001","给、排水附（配）件",null,"1.材质:Φ75不锈钢地漏安装",null,null,"个",1]
[null,null,"一楼会议室改造"]
[41,"030404017004","配电箱",null,"1.名称:15路空开箱安装",null,null,"台",1]
[42,"030411004009","配线",null,"1.名称:BV4.0电线管内穿线",null,null,"m",40]
[43,"030411004010","配线",null,"1.名称:BVR4.0电线管内穿线",null,null,"m",20]
[44,"030411004011","配线",null,"1.名称:管内穿线\n2.规格:BV2.5",null,null,"m",200]
[45,"030411004012","配线",null,"1.名称:管内穿线\n2.规格:BVR2.5",null,null,"m",100]
[46,"030408001004","电力电缆",null,"1.名称:电力电缆敷设\n2.规格:YJV-5*6",null,null,"m",26]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-通用安装工程",{"$nulls":11},"第 4 页  共 9 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[47,"030408006004","电力电缆头",null,"户内干包式电力电缆头制作、安装 干包终端头(1kV以下截面mm2以下)35 \u007f10mm2及以下，铜芯，三芯及以上",null,null,"个",2]
[48,"030411001004","配管",null,"1.名称:Φ25PVC阻燃管吊顶内预埋",null,null,"m",100]
[49,"030411006004","接线盒",null,"1.名称:86型暗盒安装",null,null,"个",10]
[50,"030404035004","插座",null,"1.名称:86型开关、插座安装",null,null,"个",10]
[51,"030412005003","荧光灯",null,"1.名称:600×600LED平板灯安装",null,null,"套",6]
[null,null,"公共区域改造"]
[52,"030412005004","荧光灯",null,"1.名称:300×600LED平板灯安装",null,null,"套",2]
[null,null,"三层卫生间改造"]
[53,"031003005002","塑料阀门",null,"Φ25PPR阀门安装",null,null,"个",1]
[54,"031001006004","塑料管",null,"1、φ25PPR塑料管水管熔接，含管道及管件制作安装\n2、压力试验，消毒水冲洗等",null,null,"m",36]
[55,"030411001005","配管",null,"1.名称:Φ25PVC阻燃管吊顶内预埋",null,null,"m",40]
[56,"030411004013","配线",null,"1.名称:管内穿线\n2.规格:BV2.5",null,null,"m",100]
[57,"030411004014","配线",null,"1.名称:管内穿线\n2.规格:BVR2.5",null,null,"m",50]
[58,"030411006005","接线盒",null,"1.名称:86型暗盒安装",null,null,"个",4]
[59,"030404035005","插座",null,"1.名称:86型开关、插座安装",null,null,"个",3]
[60,"030412005005","荧光灯",null,"1.名称:300×300LED平板灯安装",null,null,"套",3]
[61,"031004008001","其他成品卫生器具",null,"1.材质:拖把池安装，含水龙头等成套配套附件",null,null,"组",1]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-通用安装工程",{"$nulls":11},"第 5 页  共 9 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[62,"031004006001","大便器",null,"1.材质:蹲坑，含冲水阀等配套附件",null,null,"组",3]
[63,"031004007001","小便器",null,"1.材质:小便斗,含感应器及其他配套附件",null,null,"组",1]
[64,"031004003001","洗脸盆",null,"1.材质:成品洗手盆，含台盆龙头等配套附件",null,null,"组",1]
[65,"031004010001","淋浴器",null,"1.材质、规格:不锈钢花洒龙头安装",null,null,"套",1]
[66,"031004014002","给、排水附（配）件",null,"1.材质:Φ75不锈钢地漏安装",null,null,"个",4]
[null,null,"一层零星改造"]
[null,null,"一号提取间"]
[67,"030412002001","工厂灯",null,"吊顶明装防爆灯安装",null,null,"套",7]
[68,"030404035006","插座",null,"操作台防爆插座安装",null,null,"个",60]
[69,"030404033001","风扇",null,"操作台防爆电风扇安装",null,null,"台",2]
[null,null,"二号提取间"]
[70,"030404017005","配电箱",null,"1.名称:原电箱内元器件及配件更换",null,null,"台",1]
[71,"031004008002","其他成品卫生器具",null,"1.材质:不锈钢连体水池安装1600*600*800，含水龙头等成套配套附件",null,null,"组",1]
[null,null,"室外简易房翻新"]
[72,"030412005006","荧光灯",null,"1.名称:1200双管LED净化日光灯安装",null,null,"套",16]
[73,"030411006006","接线盒",null,"1.名称:86型明盒墙体固定",null,null,"个",30]
[74,"030404035007","插座",null,"1.名称:86型开关、插座安装",null,null,"个",30]
[75,"030411002003","线槽",null,"1.名称:20×25PVC阻燃线槽墙体固定",null,null,"m",90]
[76,"030411001006","配管",null,"1.名称:Φ25PVC阻燃管吊顶内预埋",null,null,"m",150]
[77,"030411004015","配线",null,"1.名称:BV4.0电线管内穿线",null,null,"m",100]
[78,"030411004016","配线",null,"1.名称:BVR4.0电线管内穿线",null,null,"m",50]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-通用安装工程",{"$nulls":11},"第 6 页  共 9 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[79,"030411004017","配线",null,"1.名称:管内穿线\n2.规格:BV2.5",null,null,"m",400]
[80,"030411004018","配线",null,"1.名称:管内穿线\n2.规格:BVR2.5",null,null,"m",200]
[81,"03B003","原电箱整理配件更换、场地清理、垃圾外运",null,"1.原电箱整理配件更换、场地清理、垃圾外运",null,null,"项",1]
[null,null,"空调"]
[82,"030701003001","空调器",null,"1.名称:室外主机：参考：MDV-680W/D2SN1-8V3(I)\n2.规格:含制冷剂等配套附件\n3.隔振垫（器）、支架形式、材质:含减震设备及支架制作安装，除锈刷油",null,null,"台",2]
[83,"030701003002","空调器",null,"1.名称:天花内机：参考：MDV-D125Q4/BP3N1-EF\n2.规格:含制冷剂、遥控器、面板等配套附件\n3.隔振垫（器）、支架形式、材质:含减震设备及支架制作安装，除锈刷油",null,null,"台",7]
[84,"030701003003","空调器",null,"1.名称:天花内机：参考：MDV-D140T1/N1-B\n2.规格:含制冷剂、遥控器、面板等配套附件\n3.隔振垫（器）、支架形式、材质:含减震设备及支架制作安装，除锈刷油",null,null,"台",3]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-通用安装工程",{"$nulls":11},"第 7 页  共 9 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[85,"030701003004","空调器",null,"1.名称:一拖一天花机：参考：RFD-72QW/BDN8Y-D(B1)A\n2.规格:含制冷剂、遥控器、面板等配套附件\n3.隔振垫（器）、支架形式、材质:含减震设备及支架制作安装，除锈刷油",null,null,"台",1]
[86,"030701003005","空调器",null,"1.多联机内机安装费\n2.规格:含制冷剂、遥控器、面板等配套附件\n3.隔振垫（器）、支架形式、材质:含减震设备及支架制作安装，除锈刷油",null,null,"台",10]
[87,"030701003006","空调器",null,"1.多联机外机安装费\n2.规格:含制冷剂等配套附件\n3.隔振垫（器）、支架形式、材质:含减震设备及支架制作安装，除锈刷油",null,null,"台",2]
[88,"031001004001","铜管",null,"1.规格、压力等级:铜管: Φ35,含管道及管件制作安装\n2.连接形式:钎焊\n3.压力试验及吹、洗设计要求:脱脂、吹扫等配套试验",null,null,"m",89]
[89,"031001004002","铜管",null,"1.规格、压力等级:铜管: Φ32,含管道及管件制作安装\n2.连接形式:钎焊\n3.压力试验及吹、洗设计要求:脱脂、吹扫等配套试验",null,null,"m",31]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-通用安装工程",{"$nulls":11},"第 8 页  共 9 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[90,"031001004003","铜管",null,"1.规格、压力等级:铜管: Φ28,含管道及管件制作安装\n2.连接形式:钎焊\n3.压力试验及吹、洗设计要求:脱脂、吹扫等配套试验",null,null,"m",36]
[91,"031001004004","铜管",null,"1.规格、压力等级:铜管: Φ25,含管道及管件制作安装\n2.连接形式:钎焊\n3.压力试验及吹、洗设计要求:脱脂、吹扫等配套试验",null,null,"m",18]
[92,"031001004005","铜管",null,"1.规格、压力等级:铜管: Φ22,含管道及管件制作安装\n2.连接形式:钎焊\n3.压力试验及吹、洗设计要求:脱脂、吹扫等配套试验",null,null,"m",51]
[93,"031001004006","铜管",null,"1.规格、压力等级:铜管: Φ19,含管道及管件制作安装\n2.连接形式:钎焊\n3.压力试验及吹、洗设计要求:脱脂、吹扫等配套试验",null,null,"m",65]
[94,"031001004007","铜管",null,"1.规格、压力等级:铜管: Φ16,含管道及管件制作安装\n2.连接形式:钎焊\n3.压力试验及吹、洗设计要求:脱脂、吹扫等配套试验",null,null,"m",190]
[]
["表1-2 分部分项工程量清单及计价表(  号清单)"]
["单位工程及专业工程名称：浙江中医药大学16号楼制剂楼 改造工程-通用安装工程",{"$nulls":11},"第 9 页  共 9 页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,null,"计量单位","工程量",null,"综合单价(元)","合价(元)",null,"其中（元）",null,null,"备注"]
[{"$nulls":13},"人工费","机械费","管理费"]
[95,"031001004008","铜管",null,"1.规格、压力等级:铜管: Φ10,含管道及管件制作安装\n2.连接形式:钎焊\n3.压力试验及吹、洗设计要求:脱脂、吹扫等配套试验",null,null,"m",160]
[96,"031208002001","管道绝热",null,"铜管橡塑保温，厚度、参数满足规范要求",null,null,"m3",3.59]
[97,"03B004","分支器（同空调品牌）",null,"1.分支器（同空调品牌）",null,null,"付",9]
[98,"030411004019","配线",null,"1.名称:信号线:屏蔽线（3*0.75）",null,null,"m",380]
[99,"011615001003","开孔（打洞）",null,"墙孔:Φ83",null,null,"个",27]
[100,"030702001001","碳钢通风管道",null,"风管:定制",null,null,"m2",45]
[101,"031208003001","通风管道绝热",null,"风管橡塑保温",null,null,"m3",1.35]
[102,"031201003001","金属结构刷油",null,"法兰、支吊架等铁构件除锈刷油",null,null,"kg",193]
[103,"030704001001","通风工程检测、调试",null,"通风空调系统调试费",null,null,"系统",1]
[104,"031009002001","空调水工程系统调试",null,"空调水系统调试费",null,null,"系统",1]
[null,null,"其他"]
[105,"030408008001","防火堵洞",null,"防火封堵，做法满足规范要求",null,null,"项",1]
{"$rows_empty":7}
["合   计"]

{"sheet":"表1-3-C 技术措施项目清单及计价表【通用安装工程】","index":3,"n_rows":28,"n_cols":12,"rows_kept":28,"merged":[[0,0,0,7],[0,8,0,11],[1,0,1,11],[2,0,2,7],[2,8,2,11],[3,0,3,7],[3,8,3,11],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,5,4],[4,5,5,5],[4,6,5,6],[4,7,5,7],[4,8,4,10],[4,11,5,11],[27,0,27,6]]}
[]
["表1-3-C 技术措施项目清单及计价表"]
["工程名称：浙江省中医院制剂中心基础装修改造工程"]
["单位工程及专业工程名称：浙江省中医院制剂中心基础装修改造工程-通用安装工程",{"$nulls":7},"第 1 页  共 1 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位","工程量","综合单价(元)","金额(元)","其中",null,null,"备注"]
[{"$nulls":8},"人工费","机械费","管理费"]
[null,null,"[请输入分部名称]"]
[1,"031301017001","脚手架搭拆","脚手架搭拆","项",1]
[2,"031301018001","其他措施","设备吊装费","项",1]
{"$rows_empty":18}
["合   计"]