{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["报价表"],"read":"whole","date_system":"1900"}

{"sheet":"报价表","index":0,"n_rows":14,"n_cols":8,"rows_kept":14,"merged":[[0,0,0,7],[1,0,1,7],[9,0,9,7],[10,0,10,7]]}
["附件2:报价表"]
["项目名称：浙江省中医院钱塘院区气体灭火系统钢瓶检测及充装服务"]
["序号","项目名称、型号","产品型号","单位","数量","单价\n（元）","合计\n（元）","备注"]
[1,"七氟丙烷钢瓶检测及充装费","90L","瓶组",22,null,null,"检测及气体药剂充装"]
[2,"启动钢瓶检测及充装费","4L","瓶组",4,null,null,"检测及气体药剂充装"]
[3,"瓶头阀","与现有型号一致","只",26,null,null,"按实际更换数量结算"]
[4,"压力表","与现有型号一致","只",26,null,null,"按实际更换数量结算"]
[5,"七氟丙烷钢瓶","90L","只",1,null,null,"根据检测单位出具的钢瓶报废通知书，按实际更换数量结算"]
[6,"启动钢瓶","4L","只",1,null,null,"根据检测单位出具的钢瓶报废通知书，按实际更换数量结算"]
["总价："]
["报价应为完成采购范围内全部工作所需的一切费用，包括但不仅限于人工费、材料费、设备使用费、交通费、通讯费、税金、利润、检测报告费、合同包含的所有风险责任及不可预见费等全部费用。单价采购，按实结算。"]
[]
[null,"供应商名称（盖章）："]
[null,"日期："]