{"text_format":"3","workbook":"xlsx","n_sheets":6,"sheets":["标项1-医用棉签","标项2-医用棉球","标项3-医用纱布叠片","标项4-医用纱布块（垫）","标项5-医用超声隔离膜","标项6-胸腔闭式引流瓶"],"read":"whole","date_system":"1900"}

{"sheet":"标项1-医用棉签","index":0,"n_rows":11,"n_cols":5,"rows_kept":11,"merged":[[1,0,10,0],[1,1,7,1],[2,2,3,2],[4,2,5,2],[6,2,7,2],[8,1,9,1]]}
["项目名称","物资名称","产品需求","包装规格","单位"]
["医用棉签","医用棉签","灭菌型 200mm,大头，袋装，可自封，较大面积消毒使用","10支/包","包"]
[null,null,"灭菌型 110-120mm，袋装，可自封","10支/包","包"]
[{"$nulls":3},"20支/包","包"]
[null,null,"灭菌型 200mm，袋装，可自封，妇科取样使用","10支/包","包"]
[{"$nulls":3},"20支/包","包"]
[null,null,"灭菌型 150mm，袋装，可自封，细长杆,小头,五官科用","20支/包","包"]
[{"$nulls":3},"50支/包","包"]
[null,"碘伏棉签","小包装，开启后能再封口","20支/罐（包）","罐（包）"]
[null,null,"大包装，开启后能再封口","50支/罐","罐"]
[null,"酒精棉签","开启后能再封口","50支/罐","罐"]

{"sheet":"标项2-医用棉球","index":1,"n_rows":11,"n_cols":5,"rows_kept":11,"merged":[[1,0,10,0],[1,1,5,1],[6,1,7,1],[8,1,9,1]]}
["项目名称","物资名称","产品需求","包装规格","单位"]
["医用棉球","一次性使用棉球","非灭菌型 约0.3克/粒","250-500克/包","kg"]
[null,null,"灭菌型 约0.3克/粒","25克/包","包"]
[null,null,"灭菌型 约0.4-0.5克/粒","10粒/包","包"]
[null,null,"非灭菌型 约0.9克/粒","250-500克/包","kg"]
[null,null,"灭菌型 约0.9克/粒","30粒/包","包"]
[null,"脱脂棉球","灭菌型 约0.9g-1.0g /粒","5粒/包","包"]
[null,null,"灭菌型 约0.9g-1.0g/粒","10粒/包","包"]
[null,"酒精棉球","2粒装","2粒/包","包"]
[null,null,"5粒装","5粒/包","包"]
[null,"石蜡棉球","灭菌型 2粒装","2粒/包","包"]

{"sheet":"标项3-医用纱布叠片","index":2,"n_rows":17,"n_cols":5,"rows_kept":17,"merged":[[1,0,16,0],[1,1,7,1],[5,2,7,2],[8,1,16,1]]}
["项目名称","物资名称","产品需求","包装规格","单位"]
["医用纱布叠片","纱布叠片","灭菌型 气切型 约8*8-8层","1片/包","片"]
[null,null,"灭菌型 5cm*7cm-8P","2片/包","片"]
[null,null,"非灭菌型 5cm*7cm-8P","50-100片/包","片"]
[null,null,"非灭菌型 8cm*8cm-12P","50-100片/包","片"]
[null,null,"灭菌型 8cm*8cm-8P","10片/包","片"]
[{"$nulls":3},"5片/包","片"]
[{"$nulls":3},"2片/包","片"]
[null,"凡士林纱布","灭菌型 20cm*20cm 主用细纱款，可提供粗纱款","1片/包","片"]
[null,null,"灭菌型 20cm*30cm 主用细纱款，可提供粗纱款","1片/包","片"]
[null,null,"灭菌型 5cm*10cm 主用细纱款，可提供粗纱款","1片/包","片"]
[null,null,"灭菌型 5cm*15cm 主用细纱款，可提供粗纱款","1片/包","片"]
[null,null,"灭菌型 5cm*20cm 主用细纱款，可提供粗纱款","1片/包","片"]
[null,null,"灭菌型 10cm*10cm 主用细纱款，可提供粗纱款","1片/包","片"]
[null,null,"灭菌型 10cm*20cm 主用细纱款，可提供粗纱款","1片/包","片"]
[null,null,"灭菌型 5cm*5cm 主用细纱款，可提供粗纱款","1片/包","片"]
[null,null,"灭菌型 25cm*40cm 主用细纱款，可提供粗纱款","1片/包","片"]

{"sheet":"标项4-医用纱布块（垫）","index":3,"n_rows":19,"n_cols":5,"rows_kept":19,"merged":[[1,0,18,0],[2,1,4,1],[2,2,3,2],[5,1,18,1],[10,2,11,2],[12,2,13,2]]}
["项目名称","物资名称","产品需求","包装规格","单位"]
["医用纱布块（垫）","医用脱脂纱布","　非灭菌型","500g/包","包"]
[null,"医用棉垫"," 灭菌型（17-20)cm*30cm ，内芯尺寸不得小于（16-19)cm*29cm","1条/包","条"]
[{"$nulls":3},"3-5条/包","条"]
[null,null,"灭菌型 约60cm*60cm 烧伤病人使用","1条/包","条"]
[null,"医用纱布块","非灭菌 10cm*40cm-4P 光边 带X线 提带 ","50-100片/包","片"]
[null,null,"非灭菌 10cm*40cm-6P 光边 带X线 提带 ","50-100片/包","片"]
[null,null,"非灭菌 30cm*30cm-4P 光边 带X线 提带 ","50-100片/包","片"]
[null,null,"灭菌型 10cm*10cm-12P 光边 带X线 无提带 ","5片/包","片"]
[null,null,"灭菌型 5cm*7cm-8P 光边 带X线 无提带 ","2片/包","片"]
[null,null,"灭菌型 10cm*40cm-6P 光边 带X线 提带 ","5片/包","片"]
[{"$nulls":3},"2片/包","片"]
[null,null,"灭菌型 10cm*40cm-4P 光边 带X线 提带 ","5片/包","片"]
[{"$nulls":3},"2片/包","片"]
[null,null,"灭菌型 30cm*30cm-6P 光边 带X线 提带 ","2片/包","片"]
[null,null,"灭菌型 30cm*30cm-4P 光边 带X线 提带 ","1片/包","片"]
[null,null,"灭菌型 3cm*30cm-4P 光边 带X线  ","5片/包","片"]
[null,null,"灭菌型 3cm*10cm-4P 光边 带X线  ","5片/包","片"]
[null,null,"灭菌型 45cm*45cm-4P 光边 带X线 提带","2片/包","片"]

{"sheet":"标项5-医用超声隔离膜","index":4,"n_rows":2,"n_cols":5,"rows_kept":2}
["项目名称","物资名称","产品需求","包装规格","单位"]
["超声隔离透声膜","超声隔离透声膜","灭菌，与超声类仪器设备配套，安装于治疗头透声窗上，用于防止患者间交叉感染","单包装","个"]

{"sheet":"标项6-胸腔闭式引流瓶","index":5,"n_rows":3,"n_cols":5,"rows_kept":3}
["项目名称","物资名称","产品需求","包装规格","单位"]
["胸腔闭式引流瓶（水封瓶）","胸腔闭式引流瓶（水封瓶）","三瓶型","单包装","个"]
["超声隔离透声膜","超声隔离透声膜","灭菌，与超声类仪器设备配套，安装于治疗头透声窗上，用于防止患者间交叉感染","单包装","个"]