{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"Sheet","index":0,"n_rows":28,"n_cols":14,"rows_kept":28,"merged":[[0,0,0,13],[1,0,1,13],[22,0,22,13],[23,0,23,13],[24,0,24,13],[26,1,26,2],[27,1,27,2]]}
["附件2："]
["浙江省中医院一次性使用无菌注射器类医用耗材采购市场调研产品响应报价表"]
["序号","物资名称","针筒规格","针头规格","连接方式","用途","单位","暂定数量\n（2年）","响应情况\n（注明“正偏离”、“负偏离”或“无偏离”）","响应产品规格型号","响应产品品牌","单价\n（元）","金额\n（元）","备注"]
[1,"一次性使用无菌注射器","1ml","0.45×16RWLB","普通接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",400000]
[2,"一次性使用无菌注射器","1ml","0.45×16RWLB","螺旋接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",33000]
[3,"一次性使用无菌注射器","2ml","0.6×32TWLB","普通接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",350000]
[4,"一次性使用无菌注射器","2ml","0.6×32TWLB","螺旋接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",6000]
[5,"一次性使用无菌注射器","2ml","0.5×16TWLB","普通接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",120000]
[6,"一次性使用无菌注射器","2ml","0.7×32TWLB","普通接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",4000]
[7,"一次性使用无菌注射器","5ml","0.5×38RWLB","普通接头","用于一次性皮内、皮下、肌肉及静脉注射。可用于口腔针使用。","支",80000]
[8,"一次性使用无菌注射器","5ml","0.7×32TWLB","普通接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",2000000]
[9,"一次性使用无菌注射器","5ml","0.7×32TWLB","螺旋接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",1700]
[10,"一次性使用无菌注射器","10ml","0.7×32TWLB","普通接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",7000]
[11,"一次性使用无菌注射器","10ml","0.8×38TWLB","普通接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",2300000]
[12,"一次性使用无菌注射器","10ml","0.8×38TWLB","螺旋接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",400]
[13,"一次性使用无菌注射器","10ml","1.2×38TWSB","螺旋接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",3000]
[14,"一次性使用无菌注射器","10ml","1.2×38TWSB","普通接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",1500]
[15,"一次性使用无菌注射器","20ml","1.2×38TWLB","普通接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",1500000]
[16,"一次性使用无菌注射器","20ml","1.2×38TWLB","螺旋接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",2000]
[17,"一次性使用无菌注射器","50ml","1.2×38TWLB","普通接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",800000]
[18,"一次性使用无菌注射器","50ml","1.2×38TWLB","螺旋接头","用于一次性皮内、皮下、肌肉及静脉注射。","支",7000]
[19,"一次性使用无菌溶药注射器","50ml","1.6×33TWCZ","普通接头","适用于一次性药液配药、加药和溶药用。","支",90000]
["合计（元）："]
["大写（人民币）："]
["备注：1、上表所列数量为暂定数量，本项目为单价采购，具体金额按实结算。2、注：请严格参照针筒规格、针头规格、连接方式报价，如遇规格缺失，需在备注栏明确列明。"]
[]
[null,"供应商名称（盖章）："]
[null,"日期："]